## DRESSING ROOM
CLIENT | MUMBAI CRICKET ASSOCIATION
LOCATION | SACHIN TENDULKAR GYMKHANA - KANDIVALI
JOB | PLAYERS DRESSING ROOM - 2 NOS (GROUND 1)
SR | PARTICULARS | QUANTITY | UNIT | RATE | AMOUNT
SITE CLEARANCE WORK:
1 | Demolition of existing structure upto grand level & carting away all the scrap & Debris. | 950 | SQ.FT
CIVIL & FABRICATION WORKS:
2 | Making new Civil work plinth for the M.S fabricated structure including all the following: | 950 | SQ.FT
A | Excavation upto 1.20 mtr below ground level.
B | R.C.C pedestal with base for fixing the steel coloums.
C | 230 thick brick wall all around the plinth upto 0.30 mtr above ground level.
D | P.C.C bed over plinth area with basic reinforcement.
3 | M.S Fabricated super structure above in 75 x75mm coloums & beams & 50mm x 50mm pipe or angles as per design & details. | 954 | SQ.FT
4 | Precoated G.I sheet roofing with all the fixtures & hardware. | 1225 | SQ.FT
5 | All main walls in ready wallpanels 50mm thick all fixtures & joining compound including all labour. | 1120 | SQ.FT
6 | Granite Frame around all windows opening also granite platform for urinal & granite G.II patti 3" x 2" around all the W.C & Shower areas. | 255 | SQ.FT
7 | Wall Dado tiling in 300 x 600 Ceramic tiles fixing with tile adhesive in all the shower , WC, Urninal & W.H.B areas. | 460 | SQ.FT
8 | Flooring for the entire area 600 x 600 vitrified tiles. Glossy/Matt in all areas with Antishid in shower & WC areas. | 875 | SQ.FT
9 | Basic Cement tile flooring in the entire area excluding the WC, shower & Urinal area. Finishing the floor with sport grade rubber flooring | 745 | SQ.FT
10 | Aluminium frame with Toughened glass window including all hardware & labour. | 230 | SQ.FT
11 | Main cabin & Internal room doors in flush doorslaminate finished with all necessary hardware & labour. | 5 | NOS
PLUMBING WORKS :
12 | Plumbing Internal & External in U.P.V.C , P.V.C, G.I with all fitting , fixtures, adhesive , as required for each W.C , Shower, Urinal & W.H.B. | 13 | NOS
13 | For each Shower area - 1 hot & cold divertor with O.H wall shower & spont with S.S floor drain jaali. | 3 | NOS
14 | For each area W.C Area - 1 floor mounted W.C with P.V.C tank & seat cover, 1 two way bib cock & 1 health faucet & S.S drain Jaali. | 3 | NOS
15 | For each Urinal 1 wall mounted urinal with press flush valve, grid drain & S.S floor drain jaali. | 3 | NOS
16 | For each W.H.B 1 under counter basin with counter in Cadappah & Granite, 1 pillar tap, grid drain, 1 outlet pipe. | 3 | NOS
ELECTRICAL WORKS :
17 | Providing Light points as per the layout in copper wiring in PVC Conduits with L.E.D. Light fixture and concealed Switch board in Modular Switches and accessories. Along with LED Panel downlights | 16 | NOS
18 | Fixtures and concealed Switch board in Modular Switches and accessories. Along with Standard Fan & regulator. | 4 | NOS
19 | Power Point for Air Conditioner a per Layout in copper wiring in PVC Conduits and concealed Switch board in Modular Switches and accessories Along with 1.5ton 3 star Hi-wall Air conditioner units. | 4 | NOS
20 | Extra Plug Points for T.V, other appliances and in general for all charging as required in copper wiring in PVC Conduits and concealed Switch board in Modular Switches and accessories. | 12 | NOS
INTERIOR WORKS:
21 | False Ceiling for the entire dressing room in GI Frame with 12mm Gypsum sheets. | 945 | SQ.FT
22 | All internal partions in Aluminium with both side pre Laminated M.D.F Boards and frosted Glass. | 655 | SQ.FT
23 | Cubicles for Showers, W.C and Urinals in H.P.L Boards with S.S fittings and fixtures as per design. | 11 | NOS
24 | Providing lockers in pre Laminated MDF Boards with locks and hardware 3 ft wide, 1.5 ft deep and 8 ft tall. | 16 | NOS
25 | Seating Bench in M.S. Frame with Pre wood strips with back rest as per detail and deign. | 28 | NOS
26 | Discussion Table 7' long and 7' wide with MS frame & Prelam board 25mm thick | 1 | NOS
27 | Massage Bed in M.S. Frame with Pre Laminated M.D.F board and 2" thick cushion mattress in foam and artificial Leather. | 1 | NOS
PAINTING & FINISHING WORKS
28 | All internal surfaces ceiling & walls to be painted in plastic emulsion synthetic paints. | 1540 | SQ.FT
29 | All external surfaces painted in external grade enamel paint for all the structural elements & walls, etc. | 1480 | SQ.FT
| Total No of Dressing Rooms Proposed - | 2 | NOS

## COMBINED DRESSING ROOM & OFFICE
CLIENT | MUMBAI CRICKET ASSOCIATION
LOCATION | SACHIN TENDULKAR GYMKHANA - KANDIVALI
JOB | COMBINED PLAYERS DRESSING ROOM & OFFICE - GROUND 2
SR | PARTICULARS | QUANTITY | UNIT | RATE | AMOUNT
SITE CLEARANCE WORK:
1 | Demolition of existing structure upto grand level & carting away all the scrap & Debris. | 2910 | SQ.FT
CIVIL & FABRICATION WORKS:
2 | Making new Civil work plinth for the M.S fabricated structure including all the following: | 2910 | SQ.FT
A | Excavation upto 1.20 mtr below ground level.
B | R.C.C pedestal with base for fixing the steel coloums.
C | 230 thick brick wall all around the plinth upto 0.30 mtr above ground level.
D | P.C.C bed over plinth area with basic reinforcement.
3 | M.S Fabricated super structure above in 75 x75mm coloums & beams & 50mm x 50mm pipe or angles as per design & details. | 2910 | SQ.FT
4 | Precoated G.I sheet roofing with all the fixtures & hardware. | 3325 | SQ.FT
5 | All main walls in ready wallpanels 50mm thick all fixtures & joining compound including all labour. | 3230 | SQ.FT
6 | Granite Frame around all windows opening also granite platform for urinal & granite G.II patti 3" x 2" around all the W.C & Shower areas. | 670 | SQ.FT
7 | Wall Dado tiling in 300 x 600 Ceramic tiles fixing with tile adhesive in all the shower , WC, Urninal & W.H.B areas. | 1850 | SQ.FT
8 | Flooring for the entire area 600 x 600 vitrified tiles. Glossy/Matt in all areas with Antishid in shower & WC areas. | 395 | SQ.FT
9 | Basic Cement tile flooring in the entire area excluding the WC, shower & Urinal area. Finishing the floor with sport grade rubber flooring | 2850 | SQ.FT
10 | Aluminium frame with Toughened glass window including all hardware & labour. | 265 | SQ.FT
11 | Main cabin & Internal room doors in flush doorslaminate finished with all necessary hardware & labour. | 5 | NOS
PLUMBING WORKS :
12 | Plumbing Internal & External in U.P.V.C , P.V.C, G.I with all fitting , fixtures, adhesive , as required for each W.C , Shower, Urinal & W.H.B. | 31 | NOS
13 | For each Shower area - 1 hot & cold divertor with O.H wall shower & spont with S.S floor drain jaali. | 8 | NOS
14 | For each area W.C Area - 1 floor mounted W.C with P.V.C tank & seat cover, 1 two way bib cock & 1 health faucet & S.S drain Jaali. | 8 | NOS
15 | For each Urinal 1 wall mounted urinal with press flush valve, grid drain & S.S floor drain jaali. | 8 | NOS
16 | For each W.H.B 1 under counter basin with counter in Cadappah & Granite, 1 pillar tap, grid drain, 1 outlet pipe. | 9 | NOS
ELECTRICAL WORKS :
17 | Providing Light points as per the layout in copper wiring in PVC Conduits with L.E.D. Light fixture and concealed Switch board in Modular Switches and accessories. Along with LED Panel downlights | 51 | NOS
18 | Fan points in copper wiring in PVC conduicts with Fan fixtrues and and concealed Switch board in Modular Switches and accessories. Along with Standard Fan & regulator. | 20 | NOS
19 | Power Point for Air Conditioner a per Layout in copper wiring in PVC Conduits and concealed Switch board in Modular Switches and accessories Along with 1.5ton 3 star Hi-wall Air conditioner units. | 8 | NOS
20 | Extra Plug Points for T.V, other appliances and in general for all charging as required in copper wiring in PVC Conduits and concealed Switch board in Modular Switches and accessories. | 3 | NOS
INTERIOR WORKS:
21 | False Ceiling for the entire dressing room in GI Frame with 12mm Gypsum sheets. | 2910 | SQ.FT
22 | All internal partions in Aluminium with both side pre Laminated M.D.F Boards and frosted Glass. | 710 | SQ.FT
23 | Cubicles for Showers, W.C and Urinals in H.P.L Boards with S.S fittings and fixtures as per design. | 11 | NOS
24 | Providing players stand with seat and lockers in pre Laminated MDF Boards with locks and hardware 3 ft wide, 1.5 ft deep and 8 ft tall. | 32 | NOS
25 | Seating Bench in M.S. Frame with Pre wood strips with back rest as per detail and deign. | 24 | NOS
26 | Discussion Table 6.6' long and 6' wide with MS frame & Prelam board 25mm thick | 2 | NOS
27 | Massage Bed in M.S. Frame with Pre Laminated M.D.F board and 2" thick cushion mattress in foam and artificial Leather. | 2 | NOS
PAINTING & FINISHING WORKS
28 | All internal surfaces ceiling & walls to be painted in plastic emulsion synthetic paints. | 6650 | SQ.FT
29 | All external surfaces painted in external grade enamel paint for all the structural elements & walls, etc. | 2200 | SQ.FT

## UMPIRE REFREE ROOM
CLIENT | MUMBAI CRICKET ASSOCIATION
LOCATION | SACHIN TENDULKAR GYMKHANA - KANDIVALI
JOB | UMPIRE, REFREE AND OFFICE
SR | PARTICULARS | QUANTITY | UNIT | RATE | AMOUNT
SITE CLEARANCE WORK:
1 | Demolition of existing structure upto grand level & carting away all the scrap & Debris. | 820 | SQ.FT
CIVIL & FABRICATION WORKS:
2 | Making new Civil work plinth for the M.S fabricated structure including all the following: | 1460 | SQ.FT
A | Excavation upto 1.20 mtr below ground level.
B | R.C.C pedestal with base for fixing the steel coloums.
C | 230 thick brick wall all around the plinth upto 0.30 mtr above ground level.
D | P.C.C bed over plinth area with basic reinforcement.
3 | M.S Fabricated super structure above in 75 x75mm coloums & beams & 50mm x 50mm pipe or angles as per design & details. | 1490 | SQ.FT
4 | Precoated G.I sheet roofing with all the fixtures & hardware. | 1720 | SQ.FT
5 | All main walls in ready wallpanels 50mm thick all fixtures & joining compound including all labour. | 2215 | SQ.FT
6 | MS frame railing with wooden finish planks like picket fence for outdoor verandah outside the 3 rooms. | 280 | SQ.FT
7 | Granite Frame around all windows opening also granite platform for urinal & granite G.II patti 3" x 2" around all the W.C & Shower areas. | 185 | SQ.FT
8 | Wall Dado tiling in 300 x 600 Ceramic tiles fixing with tile adhesive in all the shower , WC, Urninal & W.H.B areas. | 775 | SQ.FT
9 | Flooring for the entire area 600 x 600 vitrified tiles. Glossy/Matt in all areas with Antishid in shower & WC areas. | 1475 | SQ.FT
10 | Aluminium frame with Toughened glass window including all hardware & labour. | 215 | SQ.FT
11 | Main cabin & Internal room doors in flush doorslaminate finished with all necessary hardware & labour. | 6 | NOS
PLUMBING WORKS :
12 | Plumbing Internal & External in U.P.V.C , P.V.C, G.I with all fitting , fixtures, adhesive , as required for each W.C , Shower, Urinal & W.H.B. | 9 | NOS
13 | For each Shower area - 1 hot & cold divertor with O.H wall shower & spont with S.S floor drain jaali. | 3 | NOS
14 | For each area W.C Area - 1 floor mounted W.C with P.V.C tank & seat cover, 1 two way bib cock & 1 health faucet & S.S drain Jaali. | 3 | NOS
15 | For each W.H.B 1 under counter basin with counter in Cadappah & Granite, 1 pillar tap, grid drain, 1 outlet pipe. | 3 | NOS
ELECTRICAL WORKS :
16 | Providing Light points as per the layout in copper wiring in PVC Conduits with L.E.D. Light fixture and concealed Switch board in Modular Switches and accessories. Along with LED Panel downlights | 27 | NOS
17 | fixtures and concealed Switch board in Modular Switches and accessories. Along with Standard Fan & regulator. | 9 | NOS
18 | Power Point for Air Conditioner a per Layout in copper wiring in PVC Conduits and concealed Switch board in Modular Switches and accessories Along with 1.5ton 3 star Hi-wall Air conditioner units. | 3 | NOS
19 | Extra Plug Points for T.V, other appliances and in general for all charging as required in copper wiring in PVC Conduits and concealed Switch board in Modular Switches and accessories. | 24 | NOS
INTERIOR WORKS:
20 | False Ceiling for the entire dressing room in GI Frame with 12mm Gypsum sheets. | 1460 | SQ.FT
21 | Working Tables in MS Frame & prelam boards on topwith side drawer boxes | 12 | NOS
22 | Chairs in MS frame with cushioned base & back fixed type with arm rest.. | 30 | NOS
23 | Providing Sofa set 3+1+1 with centre table in MS frame & cushions semi outdoor type. | 3 | NOS
24 | Providing lockers in pre Laminated MDF Boards with locks and hardware 2 ft wide, 1.5 ft deep and 3 ft tall. | 18 | NOS
PAINTING & FINISHING WORKS
25 | All internal surfaces ceiling & walls to be painted in plastic emulsion synthetic paints. | 2995 | SQ.FT
26 | All external surfaces painted in external grade enamel paint for all the structural elements & walls, etc. | 2150 | SQ.FT

## SPECATATOR STAND
CLIENT | MUMBAI CRICKET ASSOCIATION
LOCATION | SACHIN TENDULKAR GYMKHANA - KANDIVALI
JOB | SPECTATOR STANDS - 3 NOS
SR | PARTICULARS | QUANTITY | UNIT | RATE | AMOUNT
SITE CLEARANCE WORK:
1 | Demolition of existing structure upto grand level & carting away all the scrap & Debris. | 2130 | SQ.FT
CIVIL & FABRICATION WORKS:
2 | Making new Civil work plinth for the M.S fabricated structure including all the following: | 2130 | SQ.FT
A | Excavation upto 1.20 mtr below ground level.
B | R.C.C pedestal with base for fixing the steel coloums.
C | 230 thick brick wall all around the plinth upto 0.30 mtr above ground level.
D | P.C.C bed over plinth area with basic reinforcement.
3 | M.S Fabricated super structure above in 75 x75mm coloums & beams & 50mm x 50mm pipe or angles as per design & details. | 2130 | SQ.FT
4 | Precoated G.I sheet roofing with all the fixtures & hardware. | 2240 | SQ.FT
5 | MS frame railing with wooden finish planks like picket fence for outdoor verandah outside the 3 rooms. | 680 | SQ.FT
6 | Flooring for the entire area in anti-skid finish granite for entire area. | 2130 | SQ.FT
PAINTING & FINISHING WORKS
7 | All external surfaces painted in external grade enamel paint for all the structural elements & walls, etc. | 2950 | SQ.FT

## EQUIPMENT ROOM
CLIENT | MUMBAI CRICKET ASSOCIATION
LOCATION | SACHIN TENDULKAR GYMKHANA - KANDIVALI
JOB | EQUIPMENT ROOM
SR | PARTICULARS | QUANTITY | UNIT | RATE | AMOUNT
SITE CLEARANCE WORK:
1 | Demolition of existing structure upto grand level & carting away all the scrap & Debris. | 900 | SQ.FT
CIVIL & FABRICATION WORKS:
2 | Making new Civil work plinth for the M.S fabricated structure including all the following: | 900 | SQ.FT
A | Excavation upto 1.20 mtr below ground level.
B | R.C.C pedestal with base for fixing the steel coloums.
C | 230 thick brick wall all around the plinth upto 0.30 mtr above ground level.
D | P.C.C bed over plinth area with basic reinforcement.
3 | M.S Fabricated super structure above in 75 x75mm coloums & beams & 50mm x 50mm pipe or angles as per design & details. Structure 15ft high | 900 | SQ.FT
4 | Precoated G.I sheet roofing with all the fixtures & hardware. | 1350 | SQ.FT
5 | MS frame railing with wooden finish planks like picket fence for outdoor verandah outside the 3 rooms. | 680 | SQ.FT
6 | MS fabricated mezzanine with deck slab and concrete finish with MS ladder for store | 450 | SQ.FT
PAINTING & FINISHING WORKS
7 | All external surfaces painted in external grade enamel paint for all the structural elements & walls, etc. | 2450 | SQ.FT

## BRANDS & FITTINGS
CLIENT | MUMBAI CRICKET ASSOCIATION
LOCATION | SACHIN TENDULKAR GYMKHANA - KANDIVALI
JOB | OVERALL BRAND AND FITTINGS
SR. No | PARTICULARS
1 | All main walls of the dressing room, offices and staff rooms - Bison Wall Panels
Main Features: Water proof, Fire Resistant, Impact proof, Durability
2 | Toughned Glass - Saint Gobain / ARAS or similar
3 | Light Fitings - Syska / Wipro or similar
4 | Wiring - Havells / Polycab or similar
5 | Electrical Switches - Havells / Legrand or similar
6 | Fans - Havells / Crompton
7 | Air Conditioner - Haier / Blue star or similar
8 | Bathroom Fittings - Jaquar / Kohler or similar
9 | Sanitary Ware - Jaquar / Kohler or similar
10 | Paint - Asian Paint / Nerolac or similar
11 | Vitrified Tiles - Simpolo or similar